{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["공종별 총괄 내역서","공종별 내역서","노임단가"],"not_rendered":{"external_links":16,"defined_names":910},"read":"whole","date_system":"1900"}

{"sheet":"공종별 총괄 내역서","index":0,"n_rows":24,"n_cols":11,"rows_kept":24,"merged":[[0,0,0,10],[2,0,3,0],[2,1,3,1],[2,2,2,3],[2,4,2,5],[2,6,2,7],[2,8,2,9],[2,10,3,10]]}
["총괄 내역서"]
["○ 건     명 : 김해공항 엘리베이터 오버홀 공사"]
["구분","수 량","재료비",null,"노무비",null,"경비",null,"계",null,"비고"]
[null,null,"단가","금액","단가","금액","단가","금액","단가","금액"]
["01 국내선 엘리베이터 오버홀 공사"]
["0101 엘리베이터 1호기 오버홀 공사",1]
["0102 엘리베이터 2호기 오버홀 공사",1]
["0103 엘리베이터 3호기 오버홀 공사",1]
["0104 엘리베이터 4호기 오버홀 공사",1]
["0105 엘리베이터 5호기 오버홀 공사",1]
["0106 엘리베이터 6호기 오버홀 공사",1]
["0107 엘리베이터 7호기 오버홀 공사",1]
["0108 엘리베이터 8호기 오버홀 공사",1]
[]
["02 국제선 주차타워 엘리베이터 오버홀 공사",1]
["0201 엘리베이터 1호기 오버홀 공사",1]
["0202 엘리베이터 2호기 오버홀 공사",1]
[]
["03 승강기 법정검사(수시)",1]
["0301 승강기 법정검사(수시)",1]
[]
["04 승강기 감시반 모니터 교체",1]
["0401 감시용 모니터 교체",1]
["총 계"]

{"sheet":"공종별 내역서","index":1,"n_rows":160,"n_cols":15,"rows_kept":160,"merged":[[0,0,0,14],[2,0,3,0],[2,3,3,3],[2,4,3,4],[2,5,3,5],[2,6,2,7],[2,8,2,9],[2,10,2,11],[2,12,2,13],[2,14,3,14]]}
["공종별 내역서"]
["○ 건     명 : 김해공항 엘리베이터 오버홀 공사"]
["구분","코드(숨김처리)","구분(숨김처리)","규격","단위","수량","재료비",null,"노무비",null,"경비",null,"계",null,"비고"]
[{"$nulls":6},"단가","금액","단가","금액","단가","금액","단가","금액"]
["01 국내선 엘리베이터 오버홀 공사"]
["0101 엘리베이터 1호기 오버홀 공사",{"$nulls":3},"식",1]
["010101 MAIN SHEAVE 교체","MAIN SHEAVEH438B/H422B, D12*7본","MAIN SHEAVE","H438B/H422B, D12*7본","EA",1]
["010102 BEAM PULLEY 교체","BEAM PULLEY ASYH438B/H422B, D12*7본","BEAM PULLEY ASY","H438B/H422B, D12*7본","EA",1]
["010103 MAIN ROPE 교체","MAIN ROPED12, A종","MAIN ROPE","D12, A종","식",1]
["MAIN ROPE","MAIN ROPED12, A종","MAIN ROPE","D12, A종","M",161]
["노무비",null,null,"메인 로프 설치","식",1]
["010104 GOV. ROPE 교체","GOV. ROPED08, E종","GOV. ROPE","D08, E종","식",1]
["GOV. ROPE","GOV. ROPED08, E종","GOV. ROPE","D08, E종","M",40]
["노무비",null,null,"조속기 로프 설치","식",1]
["010105 GEAR OIL 주입","GEAR OILEP220/#220, 20ℓ","GEAR OIL","EP220/#220, 20ℓ","EA",1]
["010106 CAR DOOR OPERATOR 교체","CAR DOOR OPERATORSBD, CO, EW=1100","CAR DOOR OPERATOR","SBD, CO, EW=1100","SET",1]
["010107 CAR GUIDE ROLLER 교체","CAR GUIDE ROLLERT-18K/24K, D125","CAR GUIDE ROLLER","T-18K/24K, D125","EA",4]
["010108 C.WT GUIDE ROLLER 교체","C.WT GUIDE ROLLERT08K/13K, D76","C.WT GUIDE ROLLER","T08K/13K, D76","EA",4]
["010109 LANDING DOOR ASY 교체","LANDING DOOR ASYSTS-HL, CO, EW=1100","LANDING DOOR ASY","STS-HL, CO, EW=1100","EA",1]
["010110 BRAKE ASSY 교체","각 종",null,"각 종","SET",1]
["BRAKE COIL ASY","BRAKE COIL ASYHBD280-DD1","BRAKE COIL ASY","HBD280-DD1","EA",1]
["BRAKE PLUNGER","BRAKE PLUNGERHBD280-DD1","BRAKE PLUNGER","HBD280-DD1","EA",1]
["BRAKE CORE","BRAKE COREHBD280-DD1(H422B/H438B)","BRAKE CORE","HBD280-DD1(H422B/H438B)","SET",1]
["010111 전자접촉기 교체(60A 이하)","FUJI CONTACTORSC-N1/G, DC110V, 32A, 2a2b","FUJI CONTACTOR","SC-N1/G, DC110V, 32A, 2a2b","EA",1]
["010112 전자접촉기 교체(30A 이하)","FUJI CONTACTORSC-4-1/G, DC110V, 22A, 1a","FUJI CONTACTOR","SC-4-1/G, DC110V, 22A, 1a","EA",1]
["010113 릴레이 교체","LY RELAYLY-4, DC48V, OMRON-JAPAN","LY RELAY","LY-4, DC48V, OMRON-JAPAN","EA",2]
["010114 릴레이 교체","MINI RELAYMY-4N, DC48V, LED유","MINI RELAY","MY-4N, DC48V, LED유","EA",4]
["010115 전원공급장치 교체","POWER SUPPLYOTIS30-EE","POWER SUPPLY","OTIS30-EE","EA",1]
[]
["0102 엘리베이터 2호기 오버홀 공사",{"$nulls":3},"식",1]
["010201 MAIN SHEAVE 교체","MAIN SHEAVEH438B/H422B, D12*7본","MAIN SHEAVE","H438B/H422B, D12*7본","EA",1]
["010202 BEAM PULLEY 교체","BEAM PULLEY ASYH438B/H422B, D12*7본","BEAM PULLEY ASY","H438B/H422B, D12*7본","EA",1]
["010203 MAIN ROPE 교체","MAIN ROPED12, A종","MAIN ROPE","D12, A종","식",1]
["MAIN ROPE","MAIN ROPED12, A종","MAIN ROPE","D12, A종","M",161]
["노무비",null,null,"메인 로프 설치","식",11]
["010204 GOV. ROPE 교체","GOV. ROPED08, E종","GOV. ROPE","D08, E종","식",1]
["GOV. ROPE","GOV. ROPED08, E종","GOV. ROPE","D08, E종","M",40]
["노무비",null,null,"조속기 로프 설치","식",1]
["010205 GEAR OIL 주입","GEAR OILEP220/#220, 20ℓ","GEAR OIL","EP220/#220, 20ℓ","EA",1]
["010206 CAR DOOR OPERATOR 교체","CAR DOOR OPERATORSBD, CO, EW=1100","CAR DOOR OPERATOR","SBD, CO, EW=1100","SET",1]
["010207 CAR GUIDE ROLLER 교체","CAR GUIDE ROLLERT-18K/24K, D125","CAR GUIDE ROLLER","T-18K/24K, D125","EA",4]
["010208 C.WT GUIDE ROLLER 교체","C.WT GUIDE ROLLERT08K/13K, D76","C.WT GUIDE ROLLER","T08K/13K, D76","EA",4]
["010209 BRAKE ASSY 교체","0각 종",0,"각 종","SET",1]
["BRAKE COIL ASY","BRAKE COIL ASYHBD280-DD1","BRAKE COIL ASY","HBD280-DD1","EA",1]
["BRAKE PLUNGER","BRAKE PLUNGERHBD280-DD1","BRAKE PLUNGER","HBD280-DD1","EA",1]
["BRAKE CORE","BRAKE COREHBD280-DD1(H422B/H438B)","BRAKE CORE","HBD280-DD1(H422B/H438B)","SET",1]
["010210 전자접촉기 교체(60A 이하)","FUJI CONTACTORSC-N1/G, DC110V, 32A, 2a2b","FUJI CONTACTOR","SC-N1/G, DC110V, 32A, 2a2b","EA",1]
["010211 전자접촉기 교체(30A 이하)","FUJI CONTACTORSC-4-1/G, DC110V, 22A, 1a","FUJI CONTACTOR","SC-4-1/G, DC110V, 22A, 1a","EA",1]
["010212 릴레이 교체","LY RELAYLY-4, DC48V, OMRON-JAPAN","LY RELAY","LY-4, DC48V, OMRON-JAPAN","EA",2]
["010213 릴레이 교체","MINI RELAYMY-4N, DC48V, LED유","MINI RELAY","MY-4N, DC48V, LED유","EA",4]
["010214 전원공급장치 교체","POWER SUPPLYOTIS30-EE","POWER SUPPLY","OTIS30-EE","EA",1]
[]
["0103 엘리베이터 3호기 오버홀 공사",{"$nulls":3},"식",1]
["010301 IDLE SHEAVE 교체","IDLE SHEAVEGT35A, D10*6본","IDLE SHEAVE","GT35A, D10*6본","EA",1]
["010302 DEF SHEVE 교체","DEF SHEAVEGT35A, D10*6본","DEF SHEAVE","GT35A, D10*6본","EA",1]
["010303 CAR SHEAVE 교체","CAR SHEAVEGT35A, D10*6본","CAR SHEAVE","GT35A, D10*6본","EA",1]
["010304 C.WT SHEAVE 교체","C.WT SHEAVEGT35A, D10*6본","C.WT SHEAVE","GT35A, D10*6본","EA",1]
["010305 MAIN ROPE 교체","MAIN ROPED10, E종","MAIN ROPE","D10, E종","식",1]
["MAIN ROPE","MAIN ROPED10, E종","MAIN ROPE","D10, E종","M",180]
["노무비",null,null,"메인 로프 설치","식",1]
["010306 GOV, ROPE 교체","GOV. ROPED08, E종","GOV. ROPE","D08, E종","식",1]
["GOV. ROPE","GOV. ROPED08, E종","GOV. ROPE","D08, E종","M",30]
["노무비",null,null,"조속기 로프 설치","식",1]
["010310 전자접촉기 교체(60A 이하)","FUJI CONTACTORSC-5-1/G","FUJI CONTACTOR","SC-5-1/G","EA",1]
["010311 전자접촉기 교체(30A 이하)","FUJI CONTACTORSC-5-1","FUJI CONTACTOR","SC-5-1","EA",1]
["010312 릴레이 교체","RELAYLY-2, AC110V, OMRON","RELAY","LY-2, AC110V, OMRON","EA",1]
["010313 릴레이 교체","RELAYLY-2, DC24V, OMRON","RELAY","LY-2, DC24V, OMRON","EA",2]
[]
["0104 엘리베이터 4호기 오버홀 공사",{"$nulls":3},"식",1]
["010401 IDLE SHEAVE 교체","IDLE SHEAVEGT35A, D10*6본","IDLE SHEAVE","GT35A, D10*6본","EA",1]
["010402 DEF SHEVE 교체","DEF SHEAVEGT35A, D10*6본","DEF SHEAVE","GT35A, D10*6본","EA",1]
["010403 CAR SHEAVE 교체","CAR SHEAVEGT35A, D10*6본","CAR SHEAVE","GT35A, D10*6본","EA",1]
["010404 C.WT SHEAVE 교체","C.WT SHEAVEGT35A, D10*6본","C.WT SHEAVE","GT35A, D10*6본","EA",1]
["010405 MAIN ROPE 교체","MAIN ROPED10, E종","MAIN ROPE","D10, E종","식",1]
["MAIN ROPE","MAIN ROPED10, E종","MAIN ROPE","D10, E종","M",180]
["노무비","메인 로프 설치",null,"메인 로프 설치","식",1]
["010406 GOV, ROPE 교체","GOV. ROPED08, E종","GOV. ROPE","D08, E종","식",1]
["GOV. ROPE","GOV. ROPED08, E종","GOV. ROPE","D08, E종","M",30]
["노무비","조속기 로프 설치",null,"조속기 로프 설치","식",1]
["010410 전자접촉기 교체(60A 이하)","FUJI CONTACTORSC-5-1/G","FUJI CONTACTOR","SC-5-1/G","EA",1]
["010411 전자접촉기 교체(30A 이하)","FUJI CONTACTORSC-5-1","FUJI CONTACTOR","SC-5-1","EA",1]
["010412 릴레이 교체","RELAYLY-2, AC110V, OMRON","RELAY","LY-2, AC110V, OMRON","EA",1]
["010413 릴레이 교체","RELAYLY-2, DC24V, OMRON","RELAY","LY-2, DC24V, OMRON","EA",2]
[]
["0105 엘리베이터 5호기 오버홀 공사",{"$nulls":3},"식",1]
["010501 CAR SHEAVE 교체","CAR SHEAVEMRL, D10*6본, D420","CAR SHEAVE","MRL, D10*6본, D420","EA",2]
["010502 C.WT SHEVE 교체","C.WT SHEAVEMRL, D10*6본, D420","C.WT SHEAVE","MRL, D10*6본, D420","EA",1]
["010503 MAIN ROPE 교체","MAIN ROPED10, E종","MAIN ROPE","D10, E종","식",1]
["MAIN ROPE","MAIN ROPED10, E종","MAIN ROPE","D10, E종","M",204]
["노무비",null,null,"메인 로프 설치","식",1]
["010504 GOV. ROPE 교체","GOV. ROPED08, E종","GOV. ROPE","D08, E종","식",1]
["GOV. ROPE","GOV. ROPED08, E종","GOV. ROPE","D08, E종","M",28]
["노무비",null,null,"조속기 로프 설치","식",1]
["010505 전자접촉기 교체","FUJI CONTACTORSC-03/G","FUJI CONTACTOR","SC-03/G","EA",1]
["010506 전자접촉기 교체","FUJI CONTACTORSC-5-1/G + SZ-A02","FUJI CONTACTOR","SC-5-1/G + SZ-A02","EA",1]
["010507 전자접촉기 교체","FUJI CONTACTORSC-5-1/G","FUJI CONTACTOR","SC-5-1/G","EA",1]
["010508 전자접촉기 교체","RELAYLY-2, AC110V, OMRON","RELAY","LY-2, AC110V, OMRON","EA",1]
["010509 릴레이 교체","RELAYLY-2, DC24V, OMRON","RELAY","LY-2, DC24V, OMRON","EA",2]
["010510 릴레이 교체","RELAYMY-4, DC110V","RELAY","MY-4, DC110V","EA",1]
[]
["0106 엘리베이터 6호기 오버홀 공사",{"$nulls":3},"식",1]
["010601 MAIN SHEAVE 교체","MAIN SHEAVETKXL, D600, D12*6본","MAIN SHEAVE","TKXL, D600, D12*6본","EA",1]
["010602 BEAM PULLEY 교체","BEAM PULLEY ASYTKXL, D12*6본","BEAM PULLEY ASY","TKXL, D12*6본","EA",1]
["010603 MAIN ROPE 교체","MAIN ROPED12, A종","MAIN ROPE","D12, A종","식",1]
["MAIN ROPE","MAIN ROPED12, A종","MAIN ROPE","D12, A종","M",138]
["노무비",{"$nulls":3},"식",1]
["010604 GOV. ROPE 교체","GOV. ROPED08, E종","GOV. ROPE","D08, E종","식",1]
["GOV. ROPE","GOV. ROPED08, E종","GOV. ROPE","D08, E종","M",40]
["노무비",{"$nulls":3},"식",1]
["010605 GEAR OIL 주입","GEAR OILEP460/#460, 20ℓ","GEAR OIL","EP460/#460, 20ℓ","EA",1]
["010606 전자접촉기 교체","FUJI CONTACTORSC-N1/G, DC110V, 32A, 2a2b","FUJI CONTACTOR","SC-N1/G, DC110V, 32A, 2a2b","EA",1]
["010607 전자접촉기 교체","FUJI CONTACTORSC-4-1/G, DC110V, 22A, 1a","FUJI CONTACTOR","SC-4-1/G, DC110V, 22A, 1a","EA",1]
["010608 릴레이 교체","MINI RELAYMY-4N, DC48V, LED유","MINI RELAY","MY-4N, DC48V, LED유","EA",4]
["010609 릴레이 교체","LY RELAYLY-4, DC48V, OMRON-JAPAN","LY RELAY","LY-4, DC48V, OMRON-JAPAN","EA",2]
["010610 전원공급장치 교체","POWER SUPPLYOTIS30-EE","POWER SUPPLY","OTIS30-EE","EA",1]
[]
["0107 엘리베이터 7호기 오버홀 공사",{"$nulls":3},"식",1]
["010701 MAIN SHEAVE 교체","MAIN SHEAVETKXL, D600, D12*6본","MAIN SHEAVE","TKXL, D600, D12*6본","EA",1]
["010702 BEAM PULLEY 교체","BEAM PULLEY ASYTKXL, D12*6본","BEAM PULLEY ASY","TKXL, D12*6본","EA",1]
["010703 MAIN ROPE 교체","MAIN ROPED12, A종","MAIN ROPE","D12, A종","식",1]
["MAIN ROPE","MAIN ROPED12, A종","MAIN ROPE","D12, A종","M",138]
["노무비",{"$nulls":3},"식",1]
["010704 GOV. ROPE 교체","GOV. ROPED08, E종","GOV. ROPE","D08, E종","식",1]
["GOV. ROPE","GOV. ROPED08, E종","GOV. ROPE","D08, E종","M",40]
["노무비",{"$nulls":3},"식",1]
["010705 GEAR OIL 주입","GEAR OILEP460/#460, 20ℓ","GEAR OIL","EP460/#460, 20ℓ","EA",1]
["010706 전자접촉기 교체","FUJI CONTACTORSC-N1/G, DC110V, 32A, 2a2b","FUJI CONTACTOR","SC-N1/G, DC110V, 32A, 2a2b","EA",1]
["010707 전자접촉기 교체","FUJI CONTACTORSC-4-1/G, DC110V, 22A, 1a","FUJI CONTACTOR","SC-4-1/G, DC110V, 22A, 1a","EA",1]
["010708 릴레이 교체","MINI RELAYMY-4N, DC48V, LED유","MINI RELAY","MY-4N, DC48V, LED유","EA",4]
["010709 릴레이 교체","LY RELAYLY-4, DC48V, OMRON-JAPAN","LY RELAY","LY-4, DC48V, OMRON-JAPAN","EA",2]
["010710 전원공급장치 교체","POWER SUPPLYOTIS30-EE","POWER SUPPLY","OTIS30-EE","EA",1]
[]
["0108 엘리베이터 8호기 오버홀 공사",{"$nulls":3},"식",1]
["010801 IDLE SHEAVE 교체","IDLE SHEAVEGT35A, D10*6본","IDLE SHEAVE","GT35A, D10*6본","EA",1]
["010802 DEF SHEVE 교체","DEF SHEAVEGT35A, D10*6본","DEF SHEAVE","GT35A, D10*6본","EA",1]
["010803 CAR SHEAVE 교체","CAR SHEAVEGT35A, D10*6본","CAR SHEAVE","GT35A, D10*6본","EA",1]
["010804 C.WT SHEAVE 교체","C.WT SHEAVEGT35A, D10*6본","C.WT SHEAVE","GT35A, D10*6본","EA",1]
["010805 CAR DOOR OPERATOR 교체","CAR DOOR OPERATORLUXEN, CO, EW=1000","CAR DOOR OPERATOR","LUXEN, CO, EW=1000","SET",1]
["010806 CAR GUIDE ROLLER 교체","CAR GUIDE ROLLERT-18K/24K, D110","CAR GUIDE ROLLER","T-18K/24K, D110","EA",4]
["010807 C.WT GUIDE ROLLER 교체","C.WT GUIDE ROLLERT08K/13K, D80","C.WT GUIDE ROLLER","T08K/13K, D80","EA",4]
["010808 BRAKE ASY 교체","BRAKE ASYGT35A","BRAKE ASY","GT35A","SET",1]
["010809 전자접촉기 교체","FUJI CONTACTORSC-5-1/G","FUJI CONTACTOR","SC-5-1/G","EA",1]
["010810 전자접촉기 교체","FUJI CONTACTORSC-5-1","FUJI CONTACTOR","SC-5-1","EA",1]
["010811 릴레이 교체","RELAYLY-2, AC110V, OMRON","RELAY","LY-2, AC110V, OMRON","EA",1]
["010812 릴레이 교체","RELAYLY-2, DC24V, OMRON","RELAY","LY-2, DC24V, OMRON","EA",2]
[]
["02 국제선 주차타워 엘리베이터 오버홀 공사"]
["0201 엘리베이터 1호기 오버홀 공사",{"$nulls":3},"식",1]
["020101 CAR GUIDE ROLLER 교체","CAR GUIDE ROLLERK-AAA2418OAW","CAR GUIDE ROLLER","K-AAA2418OAW","EA",4]
["020102 C.WT GUIDE ROLLER 교체","C.WT GUIDE ROLLERK-AAA2418OAW","C.WT GUIDE ROLLER","K-AAA2418OAW","EA",4]
[]
["0202 엘리베이터 2호기 오버홀 공사",{"$nulls":3},"식",1]
["020201 CAR GUIDE ROLLER 교체","CAR GUIDE ROLLERK-AAA2418OAW","CAR GUIDE ROLLER","K-AAA2418OAW","EA",4]
["020202 C.WT GUIDE ROLLER 교체","C.WT GUIDE ROLLERK-AAA2418OAW","C.WT GUIDE ROLLER","K-AAA2418OAW","EA",4]
[]
["03 승강기 법정검사(수시)"]
["0301 승강기 법정검사(수시)",{"$nulls":3},"식",1]
[]
["04 승강기 감시반 모니터 교체",null,null,"55인치"]
["0401 감시용 모니터 교체",null,null,"55인치","EA",5]

{"sheet":"노임단가","index":2,"n_rows":120,"n_cols":4,"rows_kept":120,"hidden":true,"merged":[[0,0,0,3],[1,0,1,3],[2,0,2,1],[2,2,3,2],[2,3,3,3]]}
["Ⅲ. 개 별 직 종 노 임 단 가"]
["(단위 : 원)"]
["공 표 일",null,"2020.01.01","비고"]
["순 번","직종명"]
[1,"작업반장",{"v":175081,"d":"175,081"}]
[2,"보통인부",{"v":138290,"d":"138,290"}]
[3,"특별인부",{"v":166063,"d":"166,063"}]
[4,"조력공",{"v":140722,"d":"140,722"}]
[5,"제도사",{"v":171952,"d":"171,952"}]
[6,"비계공",{"v":234297,"d":"234,297"}]
[7,"형틀목공",{"v":215964,"d":"215,964"}]
[8,"철근공",{"v":219392,"d":"219,392"}]
[9,"철공",{"v":192968,"d":"192,968"}]
[10,"철판공",{"v":183489,"d":"183,489"}]
[11,"철골공",{"v":203456,"d":"203,456"}]
[12,"용접공",{"v":223094,"d":"223,094"}]
[13,"콘크리트공",{"v":216409,"d":"216,409"}]
[14,"보링공",{"v":174955,"d":"174,955"}]
[15,"착암공",{"v":156731,"d":"156,731"}]
[16,"화약취급공",{"v":184533,"d":"184,533"}]
[17,"할석공",{"v":182443,"d":"182,443"}]
[18,"포설공",{"v":158482,"d":"158,482"}]
[19,"포장공",{"v":194484,"d":"194,484"}]
[20,"잠수부",{"v":255949,"d":"255,949"}]
[21,"조적공",{"v":209720,"d":"209,720"}]
[22,"견출공",{"v":199140,"d":"199,140"}]
[23,"건축목공",{"v":210176,"d":"210,176"}]
[24,"창호공",{"v":199185,"d":"199,185"}]
[25,"유리공",{"v":193212,"d":"193,212"}]
[26,"방수공",{"v":158594,"d":"158,594"}]
[27,"미장공",{"v":216528,"d":"216,528"}]
[28,"타일공",{"v":210086,"d":"210,086"}]
[29,"도장공",{"v":198613,"d":"198,613"}]
[30,"내장공",{"v":203246,"d":"203,246"}]
[31,"도배공",{"v":174513,"d":"174,513"}]
[32,"연마공",0]
[33,"석공",{"v":209932,"d":"209,932"}]
[34,"줄눈공",{"v":156858,"d":"156,858"}]
[35,"판넬조립공",{"v":183762,"d":"183,762"}]
[36,"지붕잇기공",{"v":177964,"d":"177,964"}]
[37,"벌목부",{"v":188584,"d":"188,584"}]
[38,"조경공",{"v":179178,"d":"179,178"}]
[39,"배관공",{"v":189003,"d":"189,003"}]
[40,"배관공(수도)",{"v":182347,"d":"182,347"}]
[41,"보일러공",{"v":182298,"d":"182,298"}]
[42,"위생공",{"v":179133,"d":"179,133"}]
[43,"덕트공",{"v":168742,"d":"168,742"}]
[44,"보온공",{"v":180707,"d":"180,707"}]
[45,"인력운반공",{"v":154522,"d":"154,522"}]
[46,"궤도공",{"v":172081,"d":"172,081"}]
[47,"건설기계조장",{"v":160039,"d":"160,039"}]
[48,"건설기계운전사",{"v":202885,"d":"202,885"}]
[49,"화물차운전사",{"v":176227,"d":"176,227"}]
[50,"일반기계운전사",{"v":138956,"d":"138,956"}]
[51,"기계설비공",{"v":185702,"d":"185,702"}]
[52,"준설선선장",0]
[53,"준설선기관사",0]
[54,"준설선운전사",0]
[55,"선원",{"v":142201,"d":"142,201"}]
[56,"플랜트배관공",{"v":252529,"d":"252,529"}]
[57,"플랜트제관공",{"v":215389,"d":"215,389"}]
[58,"플랜트용접공",{"v":229620,"d":"229,620"}]
[59,"플랜트특수용접공",{"v":242150,"d":"242,150"}]
[60,"플랜트기계설치공",{"v":204705,"d":"204,705"}]
[61,"플랜트특별인부",{"v":170378,"d":"170,378"}]
[62,"플랜트케이블전공",{"v":266554,"d":"266,554"}]
[63,"플랜트계장공",{"v":179826,"d":"179,826"}]
[64,"플랜트덕트공",{"v":168365,"d":"168,365"}]
[65,"플랜트보온공",{"v":229121,"d":"229,121"}]
[66,"제철축로공",{"v":260000,"d":"260,000"}]
[67,"비파괴시험공",{"v":211907,"d":"211,907"}]
[68,"특급품질관리원",{"v":175338,"d":"175,338"}]
[69,"고급품질관리원",{"v":171650,"d":"171,650"}]
[70,"중급품질관리원",{"v":157863,"d":"157,863"}]
[71,"초급품질관리원",{"v":132897,"d":"132,897"}]
[72,"지적기사",{"v":243896,"d":"243,896"}]
[73,"지적산업기사",{"v":210073,"d":"210,073"}]
[74,"지적기능사",{"v":176698,"d":"176,698"}]
[75,"내선전공",{"v":239716,"d":"239,716"}]
[76,"특고압케이블전공",{"v":354829,"d":"354,829"}]
[77,"고압케이블전공",{"v":300453,"d":"300,453"}]
[78,"저압케이블전공",{"v":237385,"d":"237,385"}]
[79,"송전전공",{"v":436350,"d":"436,350"}]
[80,"송전활선전공",{"v":465125,"d":"465,125"}]
[81,"배전전공",{"v":334072,"d":"334,072"}]
[82,"배전활선전공",{"v":440180,"d":"440,180"}]
[83,"플랜트전공",{"v":216865,"d":"216,865"}]
[84,"계장공",{"v":223793,"d":"223,793"}]
[85,"철도신호공",{"v":259555,"d":"259,555"}]
[86,"통신내선공",{"v":219422,"d":"219,422"}]
[87,"통신설비공",{"v":245030,"d":"245,030"}]
[88,"통신외선공",{"v":315405,"d":"315,405"}]
[89,"통신케이블공",{"v":332485,"d":"332,485"}]
[90,"무선안테나공",{"v":268208,"d":"268,208"}]
[91,"석면해체공",{"v":186578,"d":"186,578"}]
[92,"광케이블설치사",{"v":339533,"d":"339,533"}]
[93,"H/W시험사",{"v":322434,"d":"322,434"}]
[94,"S/W시험사",{"v":344600,"d":"344,600"}]
[95,"도편수",{"v":369417,"d":"369,417"}]
[96,"드잡이공",{"v":285258,"d":"285,258"}]
[97,"한식목공",{"v":263480,"d":"263,480"}]
[98,"한식목공조공",{"v":210126,"d":"210,126"}]
[99,"한식석공",{"v":334710,"d":"334,710"}]
[100,"한식미장공",{"v":249945,"d":"249,945"}]
[101,"한식와공",{"v":289703,"d":"289,703"}]
[102,"한식와공조공",{"v":206937,"d":"206,937"}]
[103,"목조각공",{"v":235873,"d":"235,873"}]
[104,"석조각공",{"v":233755,"d":"233,755"}]
[105,"특수화공",{"v":238720,"d":"238,720"}]
[106,"원자력플랜트전공",{"v":223119,"d":"223,119"}]
[107,"원자력용접공",{"v":193853,"d":"193,853"}]
[108,"원자력기계설치공",{"v":215382,"d":"215,382"}]
[109,"원자력품질관리사",{"v":266390,"d":"266,390"}]
[110,"통신관련기사",{"v":254887,"d":"254,887"}]
[111,"통신관련산업기사",{"v":252472,"d":"252,472"}]
[112,"통신관련기능사",{"v":205859,"d":"205,859"}]
[113,"전기공사기사",{"v":263992,"d":"263,992"}]
[114,"전기공사산업기사",{"v":237693,"d":"237,693"}]
[115,"변전전공",{"v":338501,"d":"338,501"}]
[116,"코킹공",{"v":179334,"d":"179,334"}]